** fcgkj jkT; 'kS{kf.kd vk/kkjHkwr lajpuk fodkl fuxe fyfeVsM**

 **BIHAR STATE EDUCATIONAL INFRASTRUCTURE DEVELOPMENT CORPORATION LTD.**

( A Govt. of Bihar Undertaking )

ISO 9001:14001;OHSAS 18001

Shiksha Bhawan, Bihar Rashtrabhasa, Parishad Campus, Acharya Shivpujan Sahay Path, Saidpur, Patna-800004

Tel. No : 0612 - 2660850 \*Fax No : 0612 - 2660256

E-mail: bseidc@gmail.com \* Website : http:/www.bseidc.in \* CIN: U80301BR2010SGC015859

**nj vkea=.k gsrq vYidkyhu dksVs’ku vkea=.k lwpuk la[;k&17 o"kZ&2020&21**

fcgkj jkT; 'kS{kf.kd vk/kkjHkwr lajpuk fodkl fuxe fyŒ iVuk ds fucaf/kr laosndksa@[;kfr izkIr QeksZa@daifu;ksa ls fnukad%&22-09-2020 ds vijkgu 03%00 cts rd jkT; ds fofHkUu ftykUrxZr fofHkUu fuekZ.k dk;ksZ esa iz;ksx gsrq Electrical ls lacaf/kr dk;ksZ gsrq xSj vuqlwfpr enksa dh vkiwfrZ ,oa vf/k"Bkiu ds fy, fuEukafdr enksa gsrq eqgjcan dksVs’ku v/kh{k.k vfHk;ark] fcgkj jkT; 'kS{kf.kd vk/kkjHkwr lajpuk fodkl fuxe fyŒ] iVuk ds dk;kZy; esa izkIr fd;k tk,xk ,oa mlh fnu vijkgu 03%30 cts dksVs’kunkrkvksa ;k muds vf/kd`r izfrfuf/k;ksa ds le{k [kksyk tk,xkA

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sl. No.** | **Description of items** | **Qty** | **Unit** | **Rate In Digits** | **Rate In Words** |
| 1 | Providing and fixing of water heater of 3 litre of make- Havells/ Crompton/ Bajaj/polycab with necessary fittings and connections all complete job as per direction of EI. | 1 | Each |   |   |
| 2 | Providing and fixing of water heater of 5 litre of make- Havells/ Crompton/ Bajaj/polycab with necessary fittings and connections all complete job as per direction of EI. | 1 | Each |   |   |
| 3 | Providing and fixing of water heater of 15 litre of make- Havells/ Crompton/ Bajaj/polycab with necessary fittings and connections all complete job as per direction of EI. | 1 | Each |   |   |
| 4 | Providing and installing of automatic water level controller for sensor for overhead tank with buzzer indicator including connection testing, commissioning etc as required all complete job as per direction of EI. | 1 | Each |   |   |
| 5 | Supplying, installation, testing and commissioning of 5KVA online 3 phase UPS System with 30 minutes back-up including appropriate batteries, interconnecting cables, battery racks etc as required all complete job as per direction of EI. | 1 | Each |   |   |
| 6 | Providing and fixing of 9 Watt LED Adjustable Downlighter of make- Havells/ Crompton/ Bajaj/polycab /Phillips all complete with necessary fittings and connections all complete job as per direction of EI. | 1 | Each |   |   |
| 7 | Providing and fixing of 15 Watt LED round Down lighter of make- Havells/ Crompton/ Bajaj/polycab /Phillips all complete with necessary fittings and connections all complete job as per direction of EI. | 1 | Each |   |   |
| 8 | Supplying and fixing 10/15 watt LED type garden light of make- Havells/ Crompton/ Bajaj/polycab /Phillips with die cast aluminium housing for ingress protection of IP65 and complete with all accessories etc., on pipe post including connection with FR PVC insulated copper conductor cable and earthing the body etc. etc as required all complete job as per direction of EI. | 1 | Each |   |   |

**fo'ks"k 'krsZ&**

* ;g dksVs’ku flQZ nj fu/kkZj.k gsrq vkeaf=r fd;k x;k gSA
* dksVs’kunkrkvksa dks viuk nj ¼lHkh djksa] GST ,oa <qykbZ O;; ds lkFk½ vad ,oa v{kjksa esa m)`r djuk gksxkA
* fo’ks"k lwpuk ds fy, lwpukiV~V ;k osclkbV www.prdbihar.gov.in or [www.bseidc.in](http://www.bseidc.in) ns[ksa vFkok v/kksgLrk{kjh ds dk;kZy; esa dk;kZof/k esa laidZ fd;k tk ldrk gSA

**v/kh{k.k vfHk;ark**

**BSEIDC, iVukA**